Wall – showing insulation & copper piping?
Nitrogen in tires for school buses

New schools:


Isocyanide insulation (30-50% savings)


Geothermal heat (~70% savings on heating)


Sensors on water in bathroom


Sensors in rooms for movement


Fans in gymnasium to move air


High energy star rating appliances (freezer, computer printers)


Extra light switches to control rows of light – not all on or off


Water fountains not set so cold (44oF)


Double pane windows


Passive solar – orient school so that IMC receives more sunlight.


Add window shades or reflective coating on glass


Flat screen monitors will save money over CRT monitors


Turn off some of the lights after hours at the entryway of the school.


Add motion detector lights – to turn on when people are present.


Inspection:  involved monitoring energy useage when building is not being used.  Appliances, computer turned off when building is empty.  Water is shut off and not dripping.

