kalinake@unit5.org 

>>> JEFF CHRISTOPHERSON 11/20/07 7:36 PM >>>

Findings of informal walk through/observations

No wrap on water heaters (2) -- question on audit

Frequency of cleaning/inspections

forced air boiler heaters --2

fans? -- audit question

how often change filters -- audit

do we do low light day?

bathrooms -- no sensor on waters or auto-off

over 2000 amps in kitchen alone

8 x 8 walk in refrigerator  

44 degrees water fountains

double pane windows

room settings controlled by computer; covered in rooms no tamper

Findings of informal walk through/observations

No wrap on water heaters (2) -- question on audit

Frequency of cleaning/inspections

forced air boiler heaters --2

fans? -- audit question

how often change filters -- audit

do we do low light day?

bathrooms -- no sensor on waters or auto-off

over 2000 amps in kitchen alone

8 x 8 walk in refrigerator  

44 degrees water fountains

double pane windows

room settings controlled by computer; covered in rooms no tamper

climate

direction building is facing w/rt windows

radio controlled switches

infra red imaging

toilet flush

timer on lights/computers

monitor v flat screen

solar panels

double pane windows

reflective coating

number hours building used

kitchen

energy star ratings

fans to move air; esp gym

geothermal

nuclear

coal

fission

nitrogren in tires

bus tune up

mileage on buses

http://www.oksolar.com/n_cart/product_details.asp?ProductID=2501&cat=Solar%20Systems&subcat=Solar%20Power%20AC 

